| Agency Name | Public Regulation Commission, Insurance Division |
| --- | --- |
| Agency DFA Account Code No. | 430-3000 |
| Contact Person Name and Phone No. | John C. Standefer, 827-3721 |
| “Rule” Name | USE OF PUBLIC OCCUPANCIES |
| “Rule” Number | 10.25. NMAC 9 |
| File Name | 10.25.9 NMAC.doc |
| Format and WP package/version | Word 2000 for Windows 2000 |

For copies of proposed rule:

WRITE:	Chief Clerk, P.O. Box 1269, Santa Fe, N.M. 87504-1269.  Include the docket number, rule number and rule name, a self-addressed envelope and a check for $5.00 made payable to the Public Regulation Commission to cover the cost of copying and postage.

CALL:	Chief Clerk at 827-4526 with the docket number, rule number and rule name.  You will be billed $5.00 to cover the cost of copying and postage.

E-MAIL:	Elizabeth Bustos at Elizabeth.Bustos@state.nm.us with the docket number, rule number and rule name. The rule will be e-mailed to you at no charge.

### TITLE 10	PUBLIC SAFETY AND LAW ENFORCEMENT

CHAPTER 25	STATE FIRE MARSHAL

### PART 9		USE OF PUBLIC OCCUPANCIES

1	ISSUING AGENCY:  New Mexico State Corporation Commission, Office of the State Fire Marshal, Post Office Box 1269, Santa Fe, New Mexico  87504-1269 [5-16-97]

2	SCOPE:  This rule applies to new construction and existing buildings.  Other rules on this subject may be issued by the Construction Industries Division.  [5-16-97]

3	STATUTORY AUTHORITY:  NMSA 1978 Sections 59A-52-7 and 59A-52-15.  [5-16-97].

3A	PRE-NMAC REEGULATORY FILING HISTORY:  The material in this rule was originally filed with the State Records Center as SCC-89-1, Order Adopting Revised Regulation for Fire Prevention, Public Occupancies, and Flammable and Combustible Liquids, on 1-13-89.  [5-16-97]

4	DURATION:  Permanent. [5-16-97]

5	EFFECTIVE DATE:  May 16, 1997 unless a later date is cited at the end of a section or paragraph. [5-16-97]

6	OBJECTIVE:  The purpose of this rule is to provide minimum requirements for the design, operation, and maintenance of buildings and structures for safety to life from fire and similar emergencies.  [5-16-97]

7	DEFINITIONS:  Reserved. [5-16-97]

8	ADOPTION OF NATIONAL STANDARD: The Fire Marshal adopts and incorporates by reference NFPA 101, Life Safety Code, 1997 Edition, developed and/or approved and published by the Nations Fire Protection Association, 1 Batterymarch Park, Quincy, MA  02269, as and American National Standard. [5-16-97]

9	EXCEPTIONS:OF FUNDS:

9.1	NFPA 101, section 14-1.7 is amended to require an occupant load in new prisons of 60 square feet of gross floor area for each person. [5-16-97]

9.2	NFPA 101, section 15-1.7 is amended to require an occupant load in existing prisons of 60 square feet of gross floor area for each person. [5-16-97]