CHECK LIST FOR ISO PRE-SURVEY

THIS INFORMATION MUST BE COMPLETE AND ACCURATE.

MAP

- Provide 2 Copies’s Color-coded, of Fire District’s Legal Boundaries

- Identify the large commercial buildings on maps.

- Districts shall be to scale 1” for 2 miles.

- Identify hydrants, underground mains and or water system, to include size of water tanks, water sources, and well pump Gallons Per Minute and/or fill time, if available.

RECORD KEEPING

- Provide copies of training records and time of training (Military time).

- Provide an up to date personnel roster.

- Fill in all documents that have been provided in the ISO pre-survey packet.

- Fire reports, recruit training reports, driver training reports/ new drivers training reports.

- Apparatus inventory reports.

MAINTENANCE REPORTS

- Provide copies of annual pump tests.

- Provide copies of annual hose tests.

- Provide copies of semi-annual inspection reports of fire hydrant tests. The inspection should include operation and test at domestic pressure. Hydrants should be conspicuous, well located for use by a pumper, and in good condition.

- Provide copies of SCBA maintenance reports.

- Water Department should be notified at least four (4) weeks in advance of the survey, to ensure all paperwork is filed correctly.

PRE-PLANNING

- Provide copies of fire pre-planning of your five largest commercial buildings (square footage, occupancy type, construction type) of each building) in your fire district. Pre-planning shall be conducted twice a year. Keep a copy in fire station and in all fire units.

- Identify all utilities and fuel shut off’s or any other hazard that may exists in the building.

COMMUNICATIONS

- Both the number to report a fire (911) and the fire department business number should be listed under “Fire Departments Name” in the white pages directory (or local government section of the white pages). Also in the front cover of the phone book.

- Follow information provided by ISO on communication information Fill in all documents that have been provided by ISO pre-survey packet.

AUTOMATIC AID

- Provide a written agreement of Automatic Aid from all responding fire departments. Mutual aid is not recognized, it is only recognized only for tanker shuttle operations.

- Identify all resources available, and provide copies of run reports from responding departments.

- Have two copies of all information in a binder one for Fire department and one for ISO.